## Slide 1
Aerotactic Behavior in B. subtilis
Kiarash Adl, Brian Djaja, Katarina Struckmann, Logan Williams, Filippo Menolascina, Steven Nagle
20.345 Bioinstrumentation Project Lab
Bacterial movement is influenced by environmental gradients on all levels of scale. While significant effort has been made to understand responses to chemical gradients, or chemotactic responses, less literature exists characterizing responses to gas gradients, or aerotactic responses. We have developed an apparatus for characterizing aerotactic bacterial motion, based on three microfluidic channels, fabricated from PDMS. We have shown as a proof of concept that the response of B. subtilis to a gradient of nitrogen and oxygen can be characterized. (sentence: numerical results for gradient or movement, etc.) The movement of B. subtilis tends towards oxygen and away from nitrogen, demonstrating an aerotactic response.
Abstract
Aerotaxis
MAY 2013
Results
Conclusions
Aerotaxis background
Text
Experiment
Acknowledgments
Text
References
1.
The microscope used for the project was a standard 4f brightfield microscope based around inverted 200mm Nikon objectives.
N2 and O2 gases each flow through a primary regulator and a secondary regulator, dropping their pressure to 2 psi before they enter the device through 0.050” OD syringe tips.
Both channels were flushed with N2 for 11.5 minutes, to create a homogeneous environment, before one channel was switched to a flow of O2.
Results!